## BOM ALL KIT
SR NO | MATERIAL | SPECIFICATION | 4 PANEL BOM | 5 PANEL BOM | 6 PANEL BOM | 7 PANEL BOM | 8 PANEL BOM | 9 PANEL BOM
1 | SOLAR MODULE | BIFACIAL/TOPCON | 4 MODULES | 5 MODULES | 6 MODULES | 7 MODULES | 8 MODULES | 9 MODULES
2 | SOLAR INVERTER | POLYCAB | 3.6 KW | 3.6 KW | 3.6 KW | 4.2 KW | 5 KW | 5.4 KW
3 | GI HOT DIP PIPE 60*40 | HINDUSTAR 80 MIC | 3 NOS | 3 NOS | 4 NOS | 5 NOS | 5 NOS | 6 NOS
4 | GI HOT DIP PIPE 80*40 | HINDUSTAR 80 MIC | 0 | 0 | 0 | 0 | 0 | 0
5 | GI HOT DIP PIPE 40*40 | HINDUSTAR 80 MIC | 2 NOS | 3 NOS | 3 NOS | 3 NOS | 3 NOS | 4 NOS
6 | 12 MM ZINC STUD | 12*2 MTR | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS
7 | NUT WASHER | 12 MM | 12 NOS | 12 NOS | 12 NOS | 12 NOS | 12 NOS | 12 NOS
8 | J BOLT WITH FLANGE NUT | SS 304 | 16 NOS | 20 NOS | 24 NOS | 28 NOS | 32 NOS | 36 NOS
9 | ANCHOR FASTNER | STANDARD 10MM/3 | 12 NOS | 12 NOS | 12 NOS | 18 NOS | 18 NOS | 24 NOS
10 | L ANGLE | STANDARD | 6 NOS | 6 NOS | 6 NOS | 9 NOS | 9 NOS | 12 NOS
11 | ZINC SPRAY | STANDARD | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS
12 | FOUNDATION CONCRETE DRY MIX | 10 KG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG
13 | FOUNDATION PP SHEET | 6 INCH | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS
14 | ACDB - 1 PHASE | L&T ELMEX | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS
15 | DCDB - 1 PHASE | L&T ELMEX | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS
16 | EARTHINGC & LA ELECTRODE | STANDARD | 1 SET | 1 SET | 1 SET | 1 SET | 1 SET | 1 SET
17 | EARTHING CHEMICAL | STANDARD | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG
18 | POLYCAB DC CABLE 4 SQ MM | RED | 20 MTR | 20 MTR | 20 MTR | 20 MTR | 20 MTR | 20 MTR
19 | POLYCAB DC CABLE 4 SQ MM | BLACK | 20 MTR | 20 MTR | 20 MTR | 20 MTR | 20 MTR | 20 MTR
20 | POLYCAB AC CABLE 4 SQ MM | RED | 5 MTR | 5 MTR | 5 MTR | 5 MTR | 5 MTR | 5 MTR
21 | POLYCAB AC CABLE 4 SQ MM | BLACK | 5 MTR | 5 MTR | 5 MTR | 5 MTR | 5 MTR | 5 MTR
22 | ADDISON LA CABLE 16 MM | GREEN | 20 MTR | 20 MTR | 20 MTR | 20 MTR | 20 MTR | 20 MTR
23 | ADDISON EARTHING GREE 2.5 SQ MM | GREEN | 30 MTR | 30 MTR | 30 MTR | 30 MTR | 30 MTR | 30 MTR
24 | MC4 CONNECTOR | SIBAS-1500 VDC | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS
25 | CABLE TIE | KRIPSON 300 MM | 1 PKT | 1 PKT | 1 PKT | 1 PKT | 1 PKT | 1 PKT
26 | CONDUIT PIPE 25 MM HMS | PRESS FIT | 10 NOS | 10 NOS | 10 NOS | 10 NOS | 10 NOS | 10 NOS
27 | PVC ELBOW 25 MM | PRESS FIT | 25 NOS | 25 NOS | 25 NOS | 25 NOS | 25 NOS | 25 NOS
28 | PVC TEE 25 MM | PRESS FIT | 5 NOS | 5 NOS | 5 NOS | 5 NOS | 5 NOS | 5 NOS
29 | PVC CLIP 25 MM | PRESS FIT | 0.5 PKT | 0.5 PKT | 0.5 PKT | 0.5 PKT | 0.5 PKT | 0.5 PKT
SR NO | MATERIAL | SPECIFICATION | 10 PANEL BOM | 11 PANEL BOM | 12 PANEL BOM | 13 PANEL BOM | 14 PANEL BOM | 15 PANEL BOM | 16 PANEL BOM | 17 PANEL BOM | 18 PANEL BOM
1 | SOLAR MODULE | BIFACIAL/TOPCON | 10 MODULES | 11 MODULES | 12 MODULES | 13 MODULES | 14 MODULES | 15 MODULES | 16 MODULES | 17 MODULES | 18 MODULES
2 | SOLAR INVERTER | POLYCAB | 6 KW | 7 KW | 7 KW | 8 KW | 8 KW | 8 KW | 10 KW | 10 KW | 10 KW
3 | GI HOT DIP PIPE 60*40 | HINDUSTAR 80 MIC | 6 NOS | 6 NOS | 6 NOS | 7 NOS | 7 NOS | 7 NOS | 7 NOS | 8 NOS | 8 NOS
4 | GI HOT DIP PIPE 80*40 | HINDUSTAR 80 MIC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | GI HOT DIP PIPE 40*40 | HINDUSTAR 80 MIC | 4 NOS | 5 NOS | 5 NOS | 6 NOS | 6 NOS | 6 NOS | 6 NOS | 6 NOS | 6 NOS
6 | 12 MM ZINC STUD | 12*2 MTR | 2 NOS | 2 NOS | 3 NOS | 3 NOS | 3 NOS | 3 NOS | 3 NOS | 3 NOS | 3 NOS
7 | NUT WASHER | 12 MM | 12 NOS | 12 NOS | 18 NOS | 18 NOS | 18 NOS | 18 NOS | 18 NOS | 18 NOS | 18 NOS
8 | J BOLT WITH FLANGE NUT | SS 304 | 40 NOS | 44 NOS | 44 NOS | 52 NOS | 56 NOS | 60 NOS | 64 NOS | 64 NOS | 72 NOS
9 | ANCHOR FASTNER | STANDARD 10MM/3 | 24 NOS | 24 NOS | 24 NOS | 30 NOS | 30 NOS | 30 NOS | 30 NOS | 36 NOS | 36 NOS
10 | L ANGLE | STANDARD | 12 NOS | 12 NOS | 12 NOS | 15 NOS | 15 NOS | 15 NOS | 15 NOS | 18 NOS | 18 NOS
11 | ZINC SPRAY | STANDARD | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 2 NOS | 2 NOS | 2 NOS
12 | FOUNDATION CONCRETE DRY MIX | 10 KG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG
13 | FOUNDATION PP SHEET | 6 INCH | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS
14 | ACDB - 3 PHASE | L&T ELMEX | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS
15 | DCDB - 3 PHASE | L&T ELMEX | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS | 1 NOS
16 | EARTHINGC & LA ELECTRODE | STANDARD | 1 SET | 1 SET | 1 SET | 1 SET | 1 SET | 1 SET | 1 SET | 1 SET | 1 SET
17 | EARTHING CHEMICAL | STANDARD | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG | 1 BAG
18 | POLYCAB DC CABLE 4 SQ MM | RED | 20 MTR | 23 MTR | 23 MTR | 23 MTR | 23 MTR | 23 MTR | 25 MTR | 25 MTR | 25 MTR
19 | POLYCAB DC CABLE 4 SQ MM | BLACK | 20 MTR | 23 MTR | 23 MTR | 23 MTR | 23 MTR | 23 MTR | 25 MTR | 25 MTR | 25 MTR
20 | POLYCAB AC CABLE 4 SQ MM | RED | 5 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR
21 | POLYCAB AC CABLE 4 SQ MM | BLACK | 5 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR
22 | POLYCAB AC CABLE 4 SQ MM | BLUE | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR
23 | POLYCAB AC CABLE 4 SQ MM | YELLOW | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR | 10 MTR
24 | ADDISON LA CABLE 16 MM | GREEN | 20 MTR | 20 MTR | 20 MTR | 20 MTR | 20 MTR | 20 MTR | 20 MTR | 20 MTR | 20 MTR
25 | ADDISON EARTHING GREE 2.5 SQ MM | GREEN | 30 MTR | 30 MTR | 30 MTR | 30 MTR | 30 MTR | 30 MTR | 30 MTR | 30 MTR | 30 MTR
26 | MC4 CONNECTOR | SIBAS-1500 VDC | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 2 NOS | 3 NOS | 3 NOS | 3 NOS
27 | CABLE TIE | KRIPSON 300 MM | 1 PKT | 1 PKT | 1 PKT | 1 PKT | 1 PKT | 1 PKT | 1 PKT | 1 PKT | 1 PKT
28 | CONDUIT PIPE 25 MM HMS | PRESS FIT | 10 NOS | 10 NOS | 10 NOS | 10 NOS | 10 NOS | 10 NOS | 10 NOS | 10 NOS | 10 NOS
29 | PVC ELBOW 25 MM | PRESS FIT | 25 NOS | 25 NOS | 25 NOS | 25 NOS | 25 NOS | 25 NOS | 25 NOS | 25 NOS | 25 NOS
30 | PVC TEE 25 MM | PRESS FIT | 5 NOS | 5 NOS | 5 NOS | 5 NOS | 5 NOS | 5 NOS | 5 NOS | 5 NOS | 5 NOS
31 | PVC CLIP 25 MM | PRESS FIT | 0.5 PKT | 0.5 PKT | 0.5 PKT | 0.5 PKT | 0.5 PKT | 0.5 PKT | 0.5 PKT | 0.5 PKT | 0.5 PKT